| LICENSE NAME: |  | d/b/a NAME: |
| --- | --- | --- |
| License Number: (renewals only) |  | Control Number: (for department use only) | Evaluator: (for department use only) |
| Note: The facility description and model procedures (Appendices A-Z) from Regulatory Guide 1.60 may be used and submitted to our department to address regulatory requirements. This checklist is designed for new and renewal application categories 5A(II) and 5F(II), 64E-5.204(2) Florida Administrative Code (F.A.C.) licensees. |
| ADEQUATE? YES/NO NA | APPLICATION ITEM | NOTES |
|  |  | Name | – Main name, fictitious (doing business as-d/b/a) name, and FEI # verification from Sunbiz Corporate web page. http://www.sunbiz.org/search.html |
|  |  | Mailing Address | Mailing address is for license related correspondence. |
|  |  | Use and Storage Address | Street address of facility where RAM is used and stored. Note: A Post Office (P.O.) Box can not be the address of use. |
|  |  | License Category/Fee | 64E-5.204 lists license categories & application fees; no fee for license renewal |
|  |  | Purpose of Application | Appropriate box checked; if a renewal, list the license number. |
|  |  | Individual Users | List of physicians and Florida licensed TRP qualified AMP’s; 64E-5.208(1), .601(4)(a), .6011(1), (2), .655, .656, .657, .658 |
|  |  | Radiation Safety Officer (RSO) | Lists the name of the RSO; 64E-5.208(1), .605(1), .602(3), 64E-5.6011(15). Meets Training and Experience requirements of 64E-5.648 |
|  |  | Radioactive Material (RAM) for Medical Use | 64E-5.634(2) HDR Remote Afterloaders procedure selected on Page 2 of DH-1322 form. |
|  |  | RAM for Uses Not Listed in 6.a | Device and sealed source manufacturers’ names and models numbers. Maximum quantity of isotope including amount during source exchanges. |
|  |  | Certifying Official Signature | Application signed & dated by a certifying official (person authorized to make legally binding statements on behalf of the applicant/licensee): CEO, COO, President, V.P., Owner, any name listed on Div. of Corps. Page Administrator for hospital (Administrator @ 5C may not be Cert. Official). |
|  |  | Facility & Equipment | Diagram submittal shows use/storage locations & adjacent areas; identifies location of emergency stop switches, independent high dose rad. monitor (inside treatment vault), video camera, audio speaker & receiver. Reference Exhibits 1 & 2 from Regulatory Guide 1.60. Description submittal includes shielding calculations for units not located within an accelerator vault, postings, door interlock, intercom/video viewing system, back-up timer, software, additional safety equipment, security, warning alarms, emergency off switches, and room area monitors. Reference Exhibit 3 from Regulatory Guide 1.60. 64E-5.208(2), .312, .313, .320, .321, .323., .324, .636, .637, .638, .639, .6251, .645, .901 |
|  |  | RSO Responsibilities | Appendix A; Signed by RSO. 64E-5.605(1), .6011(15) States written notification will be submitted within 30 days of a change of RSO or other safety positions; 64E-5.213(7), (8), .602(3) |
| ADEQUATE? YES/NO NA | APPLICATION ITEM | NOTES |
|  |  | Radiation Safety Committee (RSC) | Appendix A; Lists use combinations that require RSC, Appropriate box checked. RSC membership includes names of members and their titles for at least one authorized user of each RAM authorized by license, Health Physicist/CNMT, Management representative, RSO, and Nursing representative. 64E-5.606 - .609 |
|  |  | Instrumentation | Appendix B; Appropriate box checked and instruments listed. 64E-5.615 |
|  |  | Quality Control | Appendix C; 64E-5.635, .640, .6411, .6421 |
|  |  | Personnel Monitoring Program | Appendix E; 64E-5.304 - .308, 64E-5.314 -315, 64E-5.336, 64E-5.339, 64E-5.344 - .345, 64E-5.347, 64E-5.903, and 64E-5.1320 |
|  |  | Training Program | Appendix F; 64E-5.208(1), .605(3)(j), .625(4), .655(3), .656(3), .902, 49 CFR |
|  |  | Ordering and Receiving RAM | Appendix G; 64E-5.208(2), 64E-5.327, 64E-5.601(3) & (4), 64E-5.602(4), 64E-5.605(3), Part XV |
|  |  | Source Exchange | Appendix H; 64E-5.327, 64E-5.605(3) and 64E-5.635 |
|  |  | Use Records | Appendix I; 64E-5.208(1) |
|  |  | Rules of Use | Appendix J; 64E-5.208(1), .634 - .640 , .6251, .645, .6411, .6421, .6423, .644 |
|  |  | Emergency Procedures | Appendix K; 64E-5.208(2), .343 - .345, .605(2), .621(4), .636(1)(d), .637(7) |
|  |  | Area Surveys | Appendix L; 64E-5.618(9), (10), .644 |
|  |  | Member of Public (MOP) Dose Study | Appendix M; Appropriate procedure/s checked. 64E-5.208(2), .312, .313 |
|  |  | Quality Management Program (QMP) | Appendix Q; 64E-5.611 |
|  |  | ALARA Program – including RSC | Appendix R; See Appendix. A or 64E-5.606 to determine if RSC required: 64E-5.303, .604, 101(11), .208(2), .303 |
|  |  | ALARA RSC not included | Appendix S; See Appendix A or 64E-5.606 to determine if RSC required: 64E-5.303, .604, .101(11), .208(2), .303 |
|  |  | Leak Testing | Appendix T; 64E-5.337, .348, .618(2) - (7) |
|  |  | Survey Meter Calibrations | Appendix V; 64E-5.314(2), .208(2), .615 |
|  |  | Waste Disposal | Appendix W; 64E-5.340, .328 - .330, .332, .624 |
|  |  | Inventory | Appendix X; 64E-5.618(8) |
|  |  | Mobile Medical Service Requirements | Appendix Z; 64E-5.610, .6423, Part XV |
|  |  | Other |  |
| COMMENTS: |