Notes:	– This checklist is for applicants using DOH Form DH-1054 to apply for or renew a license for the following use categories:
1A – 1C, 2A – 2C, 3A, 3B, 3F(1) – 3F(3), 3G, 3H, 3I(1), 3I(2), 3J, 3K, 3L(2), 3L(3), 3L(5), 3M(1), 3N, 3O, 3P, or 6.  Refer to section 64E-5.204, Fla. Admin. Code, for a list of license categories.  If additional assistance is needed, call the BRC at (850) 245-4545 or access the BRC website at <http://www.doh.state.fl.us/environment/radiation/>.

- The U.S. Nuclear Regulatory Commission’s NUREG-1556 series of technical reports (“Consolidated Guidance About Materials Licenses”) provide licensing guidance for many of the activities categorized above.  The documents are available on the Internet at <http://www.nrc.gov/NRC/NUREGS/indexnum.html>.

- U.S. Dept. of Transportation regulations (49 CFR) are available at <http://www.access.gpo.gov/nara/cfr/index.html>.

| CHECK OFF IF ADDRESSED | APPLICATION ITEM | NOTES |
| --- | --- | --- |
| ( | 1.a. | Name/Mailing Address | Unless application is for an individual, list the business name registered with the FL Div. of Corporations; verify name registration by phone (850/488-9000) or online at <http://ccfcorp.dos.state.fl.us/corpweb/inquiry/corinam.html> If doing business under a fictitious name, verify the name’s registration & include it in Item 1 as a d/b/a name; if fictitious name is not registered, include it in Item 2 List the mailing address for license-related correspondence |
| ( | 1.b. | Location of Use and/or Storage | List the street address where RAM will be used & stored, & where records will be available for inspection; 64E-5.208(2), .213(5) Indicate if temporary job sites will be used as storage locations |
| ( | 2. | License Category/Fee | List appropriate license category & application fee; there is no fee for license renewal applications Annual/reclamation fees are due within 60 days of license issuance and annually thereafter (an invoice for the fees is included w/ the new license); 64E-5.204 |
| ( | 3. | Purpose of Application | Check appropriate box; if applying to renew a license, list the license no. |
| ( | 4. | Individual Users | List all authorized users (AUs), including the RSO; a minimum of two AUs is required for fixed devices; 64E-5.208(2), .1313(4) |
| ( | 5. | Rad. Safety Officer (RSO) | List the name of the RSO (must be an AU); 64E-5.208(2) |
| ( | 6. | Training and Experience in Radiation Safety | Enclose relevant documentation on the rad. safety training/experience for the RSO & each authorized user; 64E-5.208(1), .1305, .1307 |
| ( | 7. | Radioactive Material (RAM) | List the element/source model no. & maximum activity for each source |
| ( | 8. | Use | List the manufacturer, model no. & intended use for each source/device |
| ( | * | Current RAM Inventory | For renewal applications, include current inventory of all RAM, including exempt, generally licensed (GL) & specifically licensed (SL) sources/devices & indicate their status (exempt, GL or SL); 64E-5.208(2) |
| ( | 9. | Radiation Detection Instruments | If applicable, list the manufacturer, model no., detection capability, range & probe specifications (if equipped w/ probe) of each instrument; 64E-5.208(2) .1314, .1318 Confirm access to an equivalent backup instrument when the primary meter is out due to calibration or repair; 64E-5.208(2), .1314, .1318 |
| ( | 10. | Calibration of Radiation Detection Instruments | If applicable, list the name & address of the instrument calibration vendor (may include option of using other licensed vendors) & confirm annual calibration frequency; if conducting in-house cal., submit procedures; 64E-5.208(2), .314 |

| CHECK OFF IF ADDRESSED | APPLICATION ITEM | NOTES |
| --- | --- | --- |
| ( | 11. | Personnel Monitoring (PM) Devices | External PM required unless able to demonstrate that workers are unlikely to exceed 500 mrem/yr TEDE; if applicable, list PM badge type (FB/OSLD/TLD), supplier & exchange frequency (monthly/bimonthly/quarterly); 64E-5.208(2), .314, .315(1) Internal PM required for users of I-125, I-131, H-3, U-234, U-235 or U-238 per 64E-5.1310(3); also required for users of unsealed sources of RAM unless able to demonstrate workers are unlikely to exceed 10% of applicable ALIs; if applicable, describe internal PM method (e.g., bioassays); 64E-5.208(2), .307, .315(2), .1310(3) |
| ( | 12. | Facilities & Equipment | Annotated facility diagram shows RAM use/storage locations, access pts., adjacent areas, proximity to occupied work stations, no. of stories to bldg.; 64E-5.208(2) Description of storage container; 64E-5.208(2) Description of security measures in place to prevent access; 64E-5.320, .321 Description of safety equipment; 64E-5.208(2) Description of posting; 64E-5.323, .901 |
|  | 13. | Rad. Protection Program | Description of program addressing below items; 64E-5.303 |
| ( | A. | Member of Public (MOP) Dose Study | New applicant: procedures for demonstrating compliance w/ MOP dose limits License renewal: submit MOP study; 64E-5.208(2), .313 |
| ( | B. | ALARA Policy | Policy describes a) management's commitment to ALARA philosophy, & b) commitment to perform an annual ALARA/rad. protection program review; model ALARA policy available from BRC; 64E-5.208(2), .303 |
|  | C. | Radiation Safety Officer |  |
| ( | (1) | RSO Duties | Description of RSO duties equivalent to the duties listed in 64E-5.1305 |
| ( | (2) | Change of RSO Notification | Statement confirming that written notification will be given to BRC within 30 days of a change of RSO or other safety positions; 64E-5.213(7) |
| ( | D. | Radiation Safety Training Program | Training program addresses: Instructions to workers/radiation awareness training per 64E-5.902 AU training per 64E-5.1307, .1312 & .1313 (as applicable) Hazmat employee training per 49 CFR 172 Subpart H & driver training per 49 CFR 177.816 (as applicable) If requesting authorization to conduct an in-house training program, submit a detailed description per 64E-5.1307(2); .208(2), .1307, .1312, .1313 |
| ( | E. | Operating Procedures | Procedures address all applicable components listed below; 64E-5.208(2), .1302 Procedures include commitment that users are instructed in/have access to all procedures/manuals for each type of RAM; 64E-5.208(2), .1302 If applicable, procedures for transporting RAM to temporary job sites; .208(2) |
| ( | (1) | Personnel Monitoring (PM) Procedures | External PM: Instructions on proper use: only use assigned PM badge, always wear badge when handling RAM, do not expose badge to excessive heat/light/chemicals/ moisture, promptly return for exchange when due; use of spare badges; dealing w/ lost/damaged badges; PM records (DH-1622 & DH-1623 or equivalent forms; annual/termination reports); 64E-5.208(2), Part III, .1302(4), .1310(1) Internal PM: procedures address 64E-5.307 requirements; .208(2), .307, .1310(3) |

| CHECK OFF IF ADDRESSED | APPLICATION ITEM | NOTES |
| --- | --- | --- |
|  | 13.E. | Operating Procedures | (contd.) |
| ( | (2) | General Safety Rules (unsealed RAM) | Procedures describe safety precautions for routine RAM use, applicable to requested authorizations; 64E-5.208(2), .1316 Procedures address storage & control of volatile & gaseous RAM per 64E-5.1317 |
| ( | (3) | Posting Procedures | Procedures address posting requirements specified in 64E-5 Parts III, IX & XIII; 64E-5.208(2), .323, .901, .1302 |
| ( | (4) | Security Procedures | Procedures address RAM security, including security at temporary job sites & overnight storage (as applicable); 64E-5.320, .321, .1311 |
| ( | (5) | Contamination Control & Survey Procedures (unsealed RAM) | Procedures address 64E-5.1319 requirements; establish action levels & wipe/ survey procedures (instruments/locations/frequency/records), including 4 meter checks prior to use: inspection, cal., battery and rad. response; 64E-5.208(2), .314(1) & (2), .1319 |
| ( | (6) | Respiratory Prot. Pro. | Procedures address RP requirements in 64E-5.319 to limit RAM intake; .208(2) |
| ( | (7) | RAM Ordering, Receiving, Opening & Shipping Pro. | Instructions for preparation/handling of incoming & outgoing RAM shipments; 64E-5.208(2), .327, .1501, .1502, 49 CFR |
| ( | F. | Emergency Procedures | Instructions for response to RAM loss, theft or damage; include emergency notification numbers (RSO, BRC); 64E-5.208(2), .1302 |
| ( | G. | Leak Testing (LT) Procedures (sealed sources) | Instructions for collecting LT samples; performed only by AUs; state interval tests will be performed (6/12/36 months); list manufacturer name & model no. of LT kit used; list vendor contracted to analyze LT samples (may include option of using other licensed vendors); if LT analysis conducted in-house, detailed procedures required; 64E-5.208(2), .1303 |
| ( | H. | Inventory Procedures | Procedures address performance of physical inventories, describe inv. frequency (6/12 months) & record-keeping; include sample inventory form (model form available from the BRC); 64E-5.208(2), .1304 |
| ( | I. | Record Retention Procedures | Procedures address record-keeping requirements; 64E-5.208(2), .1302 If applicable, include a commitment to maintain on file, for at least 1 year after the last shipment, copies of the testing methods & results for each Type A package in use (contact manufacturers for documentation); 64E-5.1502(2), 49 CFR 173.415(a) |
| ( | 14. | Waste Disposal | Procedures address RAM disposal, with commitment that RAM will be transferred only to licensed recipients; 64E-5.208(2), .328 For unsealed RAM, address decay-in-storage, sewer disposal & LLRW shipments as applicable; 64E-5 Part III, .1302 For LLRW, include commitment to notify BRC no less than 48 hrs. before shipment to treatment/storage/disposal facility per 64E-5.1508 |
| ( | 15. | Certificate | Application signed & dated by a certifying official (person authorized to make legally binding statements on behalf of the applicant) |