The radiation safety officer (RSO) is responsible for ensuring compliance with license terms and conditions and the applicable requirements of Chapter 64E-5, Florida Administrative Code (F.A.C.).  Management has delegated to the RSO authority to fulfill the duties and responsibilities described below.

1.	Ensure that radioactive material usage conforms to license authorizations;

2.	Ensure that work involving gauges and any other devices containing radioactive material are used only by, or under the supervision of qualified individuals authorized by the license, and that all workers wear personnel monitoring badges when required;

3.	Ensure that all users read and understand the procedures described in the radiation protection program;

4.	Ensure that personnel monitoring (PM) badges are properly used and stored, exchanged at required intervals, and that PM reports are accurate and reviewed in a timely manner;

5.	Ensure that gauges and all other devices containing radioactive material are properly secured against unauthorized access or removal;

6.	Ensure that radioactive materials are shipped in compliance with applicable U.S. Dept. of Transportation regulations;

7.	Ensure that all sealed sources of radioactive material are leak tested on a timely basis and as prescribed by the manufacturer or by the license;

8.	Ensure that all sealed sources of radioactive material are physically inspected and inventoried on a timely basis and as prescribed by the license;

9.	Maintain all records required by the license and the regulations.  These include, but are not limited to documentation related to personnel monitoring, leak tests, inventories, training, and receipt, transfer and disposal records;

10.	Ensure that the proper authorities are notified promptly in case of gauge loss, theft or damage, and serve as a contact for such events;

11.	Ensure compliance with the ALARA policy by emphasizing the ALARA philosophy to all personnel; and

12.	Ensure that a review of the radiation protection program's content and implementation is conducted annually as required by subsection 64E-5.303(3), F.A.C.  The review will include an evaluation of equipment, procedures, personnel monitoring records, inspection findings, and any incidents.  The RSO will assess trends in occupational exposures as an index of the program's success and to determine if any modifications to the program are needed.  A summary of the results of each annual review, including a description of actions proposed and taken (if any) will be documented by the RSO, discussed with management, and signed and dated by both.  A report of the review’s scope, findings and recommendations (if any) will be maintained for 3 years, in accordance with section 64E-5.335, F.A.C.