Records pertaining to portable gauging operations will be maintained in accordance with the requirements specified in Chapter 64E-5, Florida Administrative Code, which is described below.

| DOCUMENT | # RETENTION INTERVAL | REFERENCE |
| --- | --- | --- |
| Chapter 64E-5, Florida Administrative Code | Until termination of license | 64E-5.901 |
| Radioactive materials license (with all active amendments and supporting documents) | Until termination of license | 64E-5.901 |
| Provisions of radiation protection program | Until termination of license | 64E-5.335(2) |
| Rad. protection program/ALARA reviews | 3 years after records are made | 64E-5.335(2) |
| Training and testing records | Until worker’s termination or 5 years, whichever is greater | 64E-5.1307(3) |
| Hazmat employee training records | 90 days from last day of employment | 49 CFR 172.704(d) |
| Leak test records | 3 years after records are made | 64E-5.337 |
| Inventory records | 3 years after records are made | 64E-5.1304 |
| Copies of “IAEA Certificate of Competent Authority” for each gauge’s source(s) (Special Form Source Certificate) | 1 year beyond last gauge shipment | 64E-5.1502(2) 49 CFR 173.476(a) |
| Records of Type A package test methods & results for each package used | 1 year beyond last package shipment | 64E-5.1502(2) 49 CFR 173.415(a) |
| Copies of radioactive material shipping papers | 3 years after package shipment | 64E-5.1502(2) 49 CFR 172.201(e) |
| Copies of manufacturer’s operation/safety manual for each authorized device model | As long as each gauge model is authorized by the license | 64E-5.212(2) |
| Receipt records | Until disposal is authorized | 64E-5.103 |
| Transfer & disposal records | Until termination of license | 64E-5.340(2) |
| Prior occupational dose histories | 3 years after records are made | 64E-5.308(7) |
| Personnel monitoring (PM) results | Until termination of license | 64E-5.339(5) |
| Annual PM exposure notification reports | 3 years after reports are made | 64E-5.903(2) |
| Individual PM reports following employee termination | 3 years after reports are made | 64E-5.903(3) |
| Records demonstrating compliance with individual members of the public dose limits | Until termination of license | 64E-5.313(5) |
| Records of surveys/measurements used to determine external/internal doses | 3 years beyond the calibration date | 64E-5.336(1) |
| Records of surveys performed to evaluate radiation levels or radiation hazards | Until termination of license | 64E-5.336(2) |
| Survey instrument calibration records | 3 years beyond the calibration date | 64E-5.336(1) |