Information Notice Number 29 (November 2004) For Florida Radiation Machine Registrants Department of Health, Bureau of Radiation Control

# RECORDS RETENTION REQUIREMENTS

(Healing Arts - Medical, Dental, Veterinary)

Rule 64E-5, Florida Administrative Code addresses records retention requirements. A copy of the rules may be found on our web site at www.MyFloridaEH.com .   The regulations are outlined below.

| PART V, X-RAY IN THE HEALING ARTS |
| --- |
| 64E-5.502 General Requirements. |
| (1) | Administrative Controls. |
| (b) | Information and Maintenance Records and Associated Information. The registrant shall maintain at least the following information for each x-ray system. |
| 2. | Record of surveys, calibrations, maintenance, modifications from the original schematics and drawings performed on the x-ray machine along with the names of persons who performed the service. |
| 3. | A copy of all correspondence with the department regarding each x-ray system |

Required Records

Each registrant of radiation machines for healing arts use is required to maintain the following minimum records:

Past inspection records

Violation correction records

Report of Assembly of a Diagnostic X-Ray System (FDA Form 2579) installation records

Machine maintenance records

Processor maintenance records

64E-5 Regulations, Part III, Part IX

Personnel monitoring records when required

Facilities should maintain copies of these records on site and available for inspection.

If you have questions or need guidance, please contact this office at:

Department of Health Bureau of Radiation Control, Radiation Machine Section 4052 Bald Cypress Way, Bin C21 Tallahassee, FL 32399-1741 Phone: (850) 245-4888 Fax: (850) 617-6442 www.MyFloridaEH.com/radiation/index.html