Information Notice Number 29 (November 2004) For Florida Radiation Machine Registrants Department of Health, Bureau of Radiation Control

# RECORDS RETENTION REQUIREMENTS

(Healing Arts - Medical, Dental, Veterinary)

Rule 64E-5, Florida Administrative Code addresses records retention requirements. A copy of the rules may be found on our web site at www.MyFloridaEH.com .   The regulations are outlined below.

| PART V, X-RAY IN THE HEALING ARTS |  |
| --- | --- |
| 64E-5.502 General Requirements. |  |
| (1) | Administrative Controls. |
| (b) | Information and Maintenance Records and Associated Information. The registrant shall maintain at least the following information for each x-ray system. |
| 2. | Record of surveys, calibrations, maintenance, modifications from the original schematics and drawings performed on the x-ray machine along with the names of persons who performed the service. |
| 3. | A copy of all correspondence with the department regarding each x-ray system |

Required Records

Each registrant of radiation machines for healing arts use is required to maintain the following minimum records:

- Past inspection records

- Violation correction records

- Report of Assembly of a Diagnostic X-Ray System (FDA Form 2579) installation records

- Machine maintenance records

- Processor maintenance records

- 64E-5 Regulations, Part III, Part IX

- Personnel monitoring records when required

Facilities should maintain copies of these records on site and available for inspection.

If you have questions or need guidance, please contact this office at:

Department of Health Bureau of Radiation Control, Radiation Machine Section 4052 Bald Cypress Way, Bin C21 Tallahassee, FL 32399-1741 Phone: (850) 245-4888 Fax: (850) 617-6442 www.MyFloridaEH.com/radiation/index.html