| LICENSE NAME: |  |  |  |  |  | d/b/a NAME: |
| --- | --- | --- | --- | --- | --- | --- |
| License Number: (renewals only) |  |  |  | Control Number: (for department use only) |  | Evaluator: (for department use only) |
| Note: The facility description and model procedures (Appendices A-Z) from Regulatory Guide 1.60 may be used and submitted to our department to address regulatory requirements. This checklist is designed for new and renewal application categories 5A(II) and 5F(II), 64E-5.204(2) Florida Administrative Code (F.A.C.) licensees. |  |  |  |  |  |  |
| ADEQUATE? YES/NO NA |  | APPLICATION ITEM |  |  | NOTES |  |
|  |  | ##### Name |  |  | – Main name, fictitious (doing business as-d/b/a) name, and FEI # verification from Sunbiz Corporate web page. http://www.sunbiz.org/search.html |  |
|  |  | Mailing Address |  |  | - Mailing address is for license related correspondence. |  |
|  |  | Use and Storage Address |  |  | - Street address of facility where RAM is used and stored. Note: A Post Office (P.O.) Box can not be the address of use. |  |
|  |  | License Category/Fee |  |  | - 64E-5.204 lists license categories & application fees; no fee for license renewal |  |
|  |  | Purpose of Application |  |  | - Appropriate box checked; if a renewal, list the license number. |  |
|  |  | Individual Users |  |  | - List of physicians and Florida licensed TRP qualified AMP’s; 64E-5.208(1), .601(4)(a), .6011(1), (2), .655, .656, .657, .658 |  |
|  |  | Radiation Safety Officer (RSO) |  |  | - Lists the name of the RSO; 64E-5.208(1), .605(1), .602(3), 64E-5.6011(15). Meets Training and Experience requirements of 64E-5.648 |  |
|  |  | Radioactive Material (RAM) for Medical Use |  |  | - 64E-5.634(2) HDR Remote Afterloaders procedure selected on Page 2 of DH-1322 form. |  |
|  |  | RAM for Uses Not Listed in 6.a |  |  | - Device and sealed source manufacturers’ names and models numbers. Maximum quantity of isotope including amount during source exchanges. |  |
|  |  | Certifying Official Signature |  |  | - Application signed & dated by a certifying official (person authorized to make legally binding statements on behalf of the applicant/licensee): CEO, COO, President, V.P., Owner, any name listed on Div. of Corps. Page Administrator for hospital (Administrator @ 5C may not be Cert. Official). |  |
|  |  | ##### Facility & Equipment |  |  | - Diagram submittal shows use/storage locations & adjacent areas; identifies location of emergency stop switches, independent high dose rad. monitor (inside treatment vault), video camera, audio speaker & receiver. Reference Exhibits 1 & 2 from Regulatory Guide 1.60. - Description submittal includes shielding calculations for units not located within an accelerator vault, postings, door interlock, intercom/video viewing system, back-up timer, software, additional safety equipment, security, warning alarms, emergency off switches, and room area monitors. Reference Exhibit 3 from Regulatory Guide 1.60. 64E-5.208(2), .312, .313, .320, .321, .323., .324, .636, .637, .638, .639, .6251, .645, .901 |  |
|  |  | RSO Responsibilities |  |  | - Appendix A; Signed by RSO. 64E-5.605(1), .6011(15) - States written notification will be submitted within 30 days of a change of RSO or other safety positions; 64E-5.213(7), (8), .602(3) |  |
| ADEQUATE? YES/NO NA |  | APPLICATION ITEM |  |  | NOTES |  |
|  |  | Radiation Safety Committee (RSC) |  |  | - Appendix A; Lists use combinations that require RSC, Appropriate box checked. - RSC membership includes names of members and their titles for at least one authorized user of each RAM authorized by license, Health Physicist/CNMT, Management representative, RSO, and Nursing representative. 64E-5.606 - .609 |  |
|  |  | Instrumentation |  |  | - Appendix B; Appropriate box checked and instruments listed. 64E-5.615 |  |
|  |  | Quality Control |  |  | - Appendix C; 64E-5.635, .640, .6411, .6421 |  |
|  |  | Personnel Monitoring Program |  |  | - Appendix E; 64E-5.304 - .308, 64E-5.314 -315, 64E-5.336, 64E-5.339, 64E-5.344 - .345, 64E-5.347, 64E-5.903, and 64E-5.1320 |  |
|  |  | Training Program |  |  | - Appendix F; 64E-5.208(1), .605(3)(j), .625(4), .655(3), .656(3), .902, 49 CFR |  |
|  |  | Ordering and Receiving RAM |  |  | - Appendix G; 64E-5.208(2), 64E-5.327, 64E-5.601(3) & (4), 64E-5.602(4), 64E-5.605(3), Part XV |  |
|  |  | Source Exchange |  |  | - Appendix H; 64E-5.327, 64E-5.605(3) and 64E-5.635 |  |
|  |  | Use Records |  |  | - Appendix I; 64E-5.208(1) |  |
|  |  | Rules of Use |  |  | - Appendix J; 64E-5.208(1), .634 - .640 , .6251, .645, .6411, .6421, .6423, .644 |  |
|  |  | Emergency Procedures |  |  | - Appendix K; 64E-5.208(2), .343 - .345, .605(2), .621(4), .636(1)(d), .637(7) |  |
|  |  | Area Surveys |  |  | - Appendix L; 64E-5.618(9), (10), .644 |  |
|  |  | Member of Public (MOP) Dose Study |  |  | - Appendix M; Appropriate procedure/s checked. 64E-5.208(2), .312, .313 |  |
|  |  | Quality Management Program (QMP) |  |  | - Appendix Q; 64E-5.611 |  |
|  |  | ALARA Program – including RSC |  |  | - Appendix R; See Appendix. A or 64E-5.606 to determine if RSC required: 64E-5.303, .604, 101(11), .208(2), .303 |  |
|  |  | ALARA RSC not included |  |  | - Appendix S; See Appendix A or 64E-5.606 to determine if RSC required: 64E-5.303, .604, .101(11), .208(2), .303 |  |
|  |  | Leak Testing |  |  | - Appendix T; 64E-5.337, .348, .618(2) - (7) |  |
|  |  | Survey Meter Calibrations |  |  | - Appendix V; 64E-5.314(2), .208(2), .615 |  |
|  |  | Waste Disposal |  |  | - Appendix W; 64E-5.340, .328 - .330, .332, .624 |  |
|  |  | Inventory |  |  | - Appendix X; 64E-5.618(8) |  |
|  |  | Mobile Medical Service Requirements |  |  | - Appendix Z; 64E-5.610, .6423, Part XV |  |
|  |  | Other |  |  |  |  |
| COMMENTS: |  |  |  |  |  |  |