I.	THE ALARA PHILOSOPHY

Part III of Chapter 64E-5, Florida Administrative Code (F.A.C.), establishes standards for protection against radiation hazards.  Section 64E-5.303, F.A.C., requires use, to the extent practical, of procedures and engineering controls based upon sound radiation protection principles to achieve occupational and public doses that are as low as reasonably achievable (ALARA).  Management, the radiation safety officer (RSO) and all authorized users must participate in the establishment, implementation and operation of a radiation protection program that applies the ALARA philosophy of minimizing exposures to radiation.

The primary concept of the ALARA philosophy is that unnecessary exposure to radiation should be avoided, even though current occupational exposure limits provide a very low risk of harm.  The objective is to reduce occupational exposures (both individual and collective) as far below regulatory limits as is reasonably achievable by means of good radiation protection planning and practice.

II.	MANAGEMENT COMMITMENT

A.	Management is committed to the ALARA philosophy of maintaining occupational and public radiation doses as low as reasonably achievable.  It is a management priority for all personnel using radioactive materials to be aware of our commitment to the ALARA philosophy and for them to be instructed in the procedures used to keep their exposures as low as possible.

B.	Management has delegated authority to our RSO to ensure adherence to ALARA principles.  Management will support the RSO in instances where this authority must be asserted.

C.	Management will make all reasonable modifications to procedures, equipment and facilities to reduce exposures, unless the cost is considered to be unjustified.  We will be prepared to describe the reasons for not implementing modifications that have been recommended.

III.	WORKER COMMITMENT

All personnel working with portable gauging devices will adhere strictly to policies and procedures applicable to activities involving ionizing radiation sources, and will apply ALARA principles and good work practices to minimize their occupational radiation exposures.  Time, distance and shielding will be used to keep exposures ALARA.  When working with sources of radiation, minimize the time spent near the source, maximize the distance from the source, and make use of available radiation shielding.  Workers must report to the RSO any conditions in the workplace that have the potential for causing unnecessary exposures.

IV.	RADIATION SAFETY OFFICER RESPONSIBILITIES

A.	The RSO will emphasize the ALARA philosophy to workers, instruct personnel on current procedures and provide guidance on relevant changes to reduce exposures.

B.	The RSO will review dosimetry reports for all monitored personnel to determine if unnecessary exposures are being received.  The RSO will investigate within 30 days the cause of any dose considered to be excessive.  If warranted, the RSO will take corrective actions to prevent recurrence.  A report of each investigation and the actions taken, if any, will be recorded and maintained for inspection purposes.

C.	At least annually, the RSO will conduct a formal review of the radiation protection program's content and implementation, as required by 64E-5.303(3), F.A.C.  The review will include an evaluation of equipment, procedures, dosimetry records, inspection findings, and incidents.  The RSO will assess trends in occupational exposures as an index of the program's success and determine if any modifications to the program are needed.  A summary of the results of each annual review, including a description of actions proposed and taken (if any) will be documented by the RSO, discussed with management, and signed and dated by both.  A report on each audit will be maintained on file for 3 years from the date of the review.

D.	The RSO will provide written notifications of annual radiation exposures to all monitored personnel and will be available to respond to any questions regarding the exposure reports.