- I.	Introduction

Handling and use of portable gauging devices is restricted to trained personnel.  An operator will either be an Authorized User (AU) -- an individual that has completed an approved formal radiation safety class – or will work under an AU’s direct supervision.

There are three training components associated with portable gauging devices.  Radiation awareness training (instructions to workers) will be provided to each worker handling or operating portable gauging devices, and to any other worker likely to exceed 100 millirem/year from the company’s licensed operations as determined by the RSO.  Authorized User training will be provided to workers independently using portable gauging devices or supervising their use by other workers.  Hazmat employee training will be provided to any worker involved in work that directly affects radioactive material transportation.  Sections II – IV provide additional details for each type of training.

Training Requirement			Regulations

- Radiation awareness training		Section 64E-5.902, F.A.C.

- Authorized User (Operator) training	Sec. 64E-5.1307 & 64E-5.1312, F.A.C.

- Hazardous materials (Hazmat)		Sec. 64E-5.1501 & 64E-5.1502, F.A.C.,
  employee training			  49 CFR 172.700 - 172.704

- II.	Radiation Awareness Training/Instructions to Workers

A.	Prior to handling, transporting or operating portable gauging devices, all workers will receive the general radiation safety training specified in section 64E-5.902, F.A.C.  The following instructions will be provided:

- Information on the storage, transfer, or use of portable gauging devices at permanent facilities and temporary job sites

- The health protection problems associated with exposure to ionizing radiation or radioactive material

- Precautions and procedures used to minimize exposures

- Applicable provisions of Florida’s radiation control regulations and the radioactive materials license

- Workers’ responsibility to report any unsafe conditions

- Appropriate responses to warnings made in the event of incidents having the potential to involve radiation exposure

- Reporting requirements for occupational radiation exposures described in section 64E-5.903, F.A.C.

B.	Training will typically last 2 – 4 hours.  The duration may vary based on attendees’ comprehension of the topics covered.  A question and answer session will be held at the end of the training period, and attendees will be encouraged to request clarification as necessary during the presentation.

C.	Documentation of training will be maintained to demonstrate compliance.

III.	Gauge Operator/Authorized User (AU) Training

A.	Portable gauging devices will be used by, or under the direct supervision of individuals that have completed at least 8 hours of formal radiation safety training covering the subjects listed in subsection 64E-5.1307(1), F.A.C.  Authorized Users (AUs) will complete a training course accepted by the Florida Bureau of Radiation Control.  Any third party course offered by a gauge manufacturer or independent consultant may be used, provided the bureau accepts the training.

If in-house radiation safety training is provided, it will be conducted in accordance with a training program that has been approved by the Florida Bureau of Radiation Control and incorporated into the company’s radiation protection program.

B.	Subsection 64E-5.1307(1), F.A.C., includes operating and emergency (O&E) procedures as a required training topic.  Unless training in our company’s O&E procedures is addressed during third party training and documentation is provided by the trainer demonstrating its inclusion in the course, in-house training in O&E procedures will be provided.  O&E procedures training will be conducted by the RSO or another experienced gauge operator, and separate documentation of O&E procedures training will be provided for each worker.

C.	Documentation of radiation safety training for each AU will be maintained on file for inspection purposes.

- IV.	Hazmat Employee Training

A.	Radioactive material contained in portable gauges is classified as hazardous material by the U.S. Department of Transportation (DOT).  In accordance with DOT regulations (49 CFR Part 172, Subpart H) workers must complete hazmat training prior to performing work that directly affects hazardous material transportation safety.  (Exception: employees can work for 90 days without the training, provided a hazmat-trained employee directly supervises them.)  Refresher training must be provided at least once every 3 years.

B.	Hazmat training will include the following: general awareness/familiarization, function specific, safety training, and security awareness.  It will be provided either in-house or by qualified third party trainers.  Completion of radiation awareness training and gauge operator/AU training can satisfy the hazmat training requirement; however, additional documentation is required (see below).

C.	Documentation of hazmat training will be maintained for the duration of each worker’s employment, plus 90 days, and will include the following information:

- The employee’s name and date of most recent training completed;

- Description, copy or location of training materials used;

- Name and address of the person providing the training; and

- Certification that the employee has been trained and tested as required.