I.	INTRODUCTION

This form documents performance of the annual radiation protection program audit required by subsection 64E-5.303(3), Florida Administrative Code (F.A.C.).  The audit consists of a review of the program’s content and implementation, evaluating it’s effectiveness in complying with regulatory requirements and keeping radiation exposures to workers and the general public as low as reasonably achievable (ALARA).  Records of annual audits must be available for inspection by the Florida Bureau of Radiation Control (FL BRC).

| License Name: |  |  |  |  |
| --- | --- | --- | --- | --- |
| License No.: |  |  | Date of Audit: |  |
| Auditor: |  |  |  |  |
|  | (name, title) |  |  |  |
|  | (signature) |  |  |  |
| Management Review: |  |  |  |  |
|  | (name, title) |  |  |  |
|  | (signature) |  |  |  |

- II.	AUDIT HISTORY

| A. Last audit conducted on (date): |  |  |  |
| --- | --- | --- | --- |
| B. Any deficiencies noted?…………….. | Yes No |  |  |
| C. Were corrective actions taken?……. | … Yes No N/A |  |  |
| (look for signs of recurrence) |  |  |  |
| D. Brief description of prior deficiencies, corrective actions taken: |  |  |  |

- III.	ORGANIZATION AND SCOPE OF PROGRAM

A.  If the mailing address or permanent address changed, has the
      license been amended to reflect the change?	N/A    Yes    No

B.  If ownership has changed or bankruptcy has been filed, was the 
FL BRC notified?	N/A    Yes    No

C.  Does the license authorize all sources & devices possessed?	Yes    No

D.  Do all temporary job sites meet regulatory definition (serve only
one contract, open for less than 18 months)?	Yes    No

E.  If no to A., has the FL BRC been notified?	Yes    No

F.  If the RSO has changed, has the license been amended to identify
the new RSO?	N/A    Yes    No

G.  Is the RSO meeting the duties & responsibilities for the position?	Yes    No

H.  Is company management appropriately involved with the radiation
protection program & oversight of the RSO’s activities?	Yes    No

I. Does RSO have sufficient time to perform all duties/responsibilities?	Yes    No

J.  Staffing sufficient to support to rad. protection program?	Yes    No

- IV.	MEMBER OF PUBLIC (MOP) DOSE LIMITS

A.  Has a MOP dose compliance study been developed, submitted
& approved by the FL BRC?	Yes    No

B.  Have licensed activities changed during the year to increase
likelihood of public dose limits being exceeded?	Yes    No

C.  If yes to B., has a new MOP study been performed to demonstrate
compliance with MOP dose limits is still being achieved?	N/A    Yes    No

- V.	TRAINING PROGRAM

A.  All workers likely to exceed 100 mrem/yr provided radiation awareness
training per 64E-5.902?	Yes    No

B.  All gauge Authorized Users (AUs) completed 8 hrs of FL BRC
approved training (or are supervised by trained AUs)?	Yes    No

C.  Hazmat employee training provided to workers per 49 CFR Part 172?	Yes    No

D. Field observations of operators demonstrate use of safe work practices
& compliance with regulatory requirements?	N/A    Yes    No

- VI.	PERSONNEL MONITORING (PM)

A.  If PM is conducted:

1.	PM badges worn properly & protected from heat, light, moisture &
chemicals when not being worn?	Yes    No

2.	PM badges consistently stored with the control badge in a
protected location when not in use?	Yes    No

3.	Are badges exchanged in a timely fashion to ensure accurate
dosimetry reports?	Yes    No

4.	Any badges lost or damaged?	Yes    No

5.	If yes to 4., was RSO immediately notified & record of worker’s
estimated dose provided to badge vendor and kept on file?	Yes    No

6.	Any spare badges assigned to workers?	Yes    No

7.	If yes to 6., were spare badges marked to identify worker it was
assigned to, & vendor notified to add spare badge dose to
worker’s occupational exposure total?	Yes    No

8.	Are dosimetry reports reviewed by the RSO upon receipt?	Yes    No

9.	Are PM records maintained on DH-issued or equivalent forms?	Yes    No

(a)	Form DH 1623 “Cumulative Occupational Exposure History” or equivalent completed for each monitored worker?	Yes    No

(b)	Form DH 1622 “Occupational Exposure Record for a Monitoring
Period” or equivalent completed for each monitored worker?	Yes    No

10.	Upon hiring, female workers provided instructions regarding
radiation risk to embryo/fetus and procedure for declared pregnancies,
and documentation of receipt of instructions maintained on file?	N/A    Yes    No

11.	Female workers declaring pregnancy document their declaration,
are provided instructions regarding monitoring and limiting the dose
to the embryo/fetus, and receipt of instructions documented?	N/A    Yes    No

12.	For workers that have declared pregnancies, records kept
demonstrating embryo/fetus dose < 50 mrem for gestation period?	N/A    Yes    No

13.	Annual & termination reports provided to workers per 64E-5.903?	Yes    No

14.	PM records reviewed from (dates):  _____________ to _____________

15.	Highest annual dose: ____________mR        Date: ________________

16.	Occupational exposures within limits?	Yes    No

17.	Do PM records indicate that worker doses are being kept ALARA?	Yes    No

- VI.	PERSONNEL MONITORING (PM)

B.  If PM is not conducted:

1.	Has a request for an exemption from 64E-5.1310(1) been
submitted & approved by the FL BRC?	Yes    No

2.	Have licensed activities changed during the year to increase
workers’ radiation exposures (i.e., expanded work load)?	Yes    No

3.	If yes to 2., has a new evaluation been performed to demonstrate
workers’ doses are likely to remain < 500 mrem/yr?	Yes    No

- VII.	POSTING AND LABELING

A.  Following documented posted at permanent facility:

1.  Emergency procedures	Yes    No

2.  “Notice to Employees” (3/01 edition)	Yes    No

3.  Any notice of violations, proposed imposition of administrative penalties, and Florida Bureau of Radiation Control-issued orders and responses to the cited violations	Yes    No

3.  Parts III and IX of Chapter 64E-5, F.A.C., company radioactive materials license, and company operating procedures unless a notice
(such as the “Notice to Employees” form) is posted that identifies the documents and where they can be viewed	Yes    No

B.  Above documents posted in conspicuous location(s) to permit workers
to observe them on way to/from work?	Yes    No

C.  Radiation signs:

1.  “Caution (or Danger), Radioactive Material” signs: posted at permanent facility & job sites where portable gauging devices are stored [unless documentation kept describing eligibility for exception described 
in 64E-5.324(3)]?	Yes    No

2.  “Caution (or Danger), Radiation Area” signs: Is manufacturers’
information kept on file to demonstrate that device’s radiation levels
are too low to require posting of radiation area signs around
storage areas?	Yes    No

D.  Portable gauging devices bear durable, clearly visible labels w/ radiation symbol, “Caution (or Danger), Radioactive Material” warning, & sufficient
information to permit individuals to avoid/minimize exposures?	Yes    No

- VIII.	SECURITY

A.  Each portable gauging device is provided a storage/transport container equipped w/ lock/seal?	Yes    No

B.  Minimum of two independent physical controls used to prevent access to 
portable gauging devices during transport and temporary storage?	Yes    No

- VIII.	SECURITY	(Continued)

C.  Portable gauging devices kept secured against unauthorized access/removal when not under direct surveillance?	Yes    No

D.  Extra precautions used to deter theft (e.g., concealing devices from view 
during transport/storage, maintaining elevated level of awareness
in high crime areas?	Yes    No

- IX.	OPERATING AND EMERGENCY (O&E) PROCEDURES

A.  Any revisions to O&E procedures made that have not been reviewed
& approved by the FL BRC?	Yes    No

B.  O&E procedures list correct phone numbers for RSO & FL BRC?	Yes    No

C.  O&E procedures accompany portable gauges at all times?	Yes    No

- X.	TRANSPORTATION

A.  Portable gauging devices transported to job sites are prepared & 
transported in same manner as when offered to third party for shipment?	Yes    No

B.  Only DOT-7A or other authorized packages used to transport devices?	Yes    No

C.  Packages used to ship devices properly marked & labeled per 49 CFR
Part 172, Subparts D & E?	Yes    No

D.  Shipping containers properly locked, blocked & braced prior to transport?	Yes    No

E.  Prior to shipment, transport containers inspected to ensure proper
packaging, unimpaired physical condition of container & closure devices?	Yes    No

F.  Properly completed bill of lading & emergency response information
provided for each device shipment?	Yes    No

G.  Shipping papers & emergency response information immediately 
accessible to driver during shipment of devices?	Yes    No

H.  Devices classified as excepted instruments/articles (e.g., XRF analyzers)
have notice included w/ package listing consignor/consignee name &
conformity statement per 49 CFR 173.422?	Yes    No

- XI.	GENERAL RULES OF USE

A.  Management & RSO emphasize to workers importance of maintaining
doses ALARA?	Yes    No

B.  Field observations of workers conducted to evaluate performance?	Yes    No

C.  Good work practices used by workers to minimize doses (i.e., time,
distance, shielding, general use rules)?	Yes    No

- XII.	LEAK TESTS

A.  Sealed sources leak tested at required intervals?	Yes    No

B.  Leak tests conducted by authorized personnel following procedures
approved by the FL BRC?	Yes    No

C.  Leak test records include all information required by 64E-5.1303?	Yes    No

D.  Any sources found leaking, & if so, was the FL BRC notified?	Yes    No

- XIII.	GAUGE INVENTORY

A.  Receipt & transfer/disposal records maintained?	Yes    No

B.  Portable gauging devices physically inventoried at 6-month intervals?	Yes    No

C.  Inventory records document all necessary information?	Yes    No

- XIV.	GAUGE MAINTENANCE

A.  Copies of the manufacturer’s operation/maintenance manuals
maintained on file for reference?	Yes    No

B.  Manufacturer’s procedures referenced & followed for routine
cleaning & lubrication of portable gauging devices?	Yes    No

C.  Non-routine device maintenance performed in-house?	Yes    No

D.  If yes to C., is non-routine device maintenance conducted by authorized personnel following procedures approved by the FL BRC?	Yes    No

- XV.	RADIATION SURVEY INSTRUMENTS

A.  If a survey meter is not possessed, are specific plans in place to 
have one available when needed?	N/A    Yes    No

B.  If a survey meter is possessed:

1.	Has the meter been approved by the FL BRC?	Yes    No

2.	Is there access to an equivalent back-up meter when the primary
meter is out for calibration/repair?	Yes    No

3.	Is the meter calibrated annually & after repair by a licensed vendor,
& are calibration records maintained?	Yes    No

- XVI.	RECORD KEEPING, NOTIFICATIONS & REPORTS

A.  All required documents maintained on file at permanent facility for
duration specified by 64E-5 (refer to record keeping procedure)?	Yes    No

B.  Did any incidents/emergencies occur since last audit?	Yes    No

- XVI.	RECORD KEEPING, NOTIFICATIONS & REPORTS	(Continued)

C.  If yes to B., was the response appropriate? (i.e., operator followed
emergency procedures, required notifications/reports timely filed,
cause of incident investigated, corrective actions taken & documented?	Yes    No

- XVII.	INDEPENDENT AUDITS/INSPECTIONS

A.  Any independent audits/inspections conducted since last internal
audit (e.g., consultant or FL BRC inspection)?	Yes    No

| B. If yes to A., summary of deficiencies identified & corrective actions taken: |  |
| --- | --- |

- XVIII.	 AUDIT DEFICIENCIES & CORRECTIVE ACTIONS

| A. Summary of problems/deficiencies identified during this audit: |  |
| --- | --- |

- XVIII.	 AUDIT DEFICIENCIES & CORRECTIVE ACTIONS	(Continued)

| B. Description of corrective actions planned or taken: |  |  |
| --- | --- | --- |
| C. Description of other recommendations for improvement: |  |  |