I.	PRINCIPLES AND FUNDAMENTALS OF RADIATION SAFETY

### A.	Types and Characteristics of Radiation

1.	Model of the Atom
2.	Alpha, Beta, Gamma, X-ray and Neutron Radiation
3.	Exposure: Natural versus Man-made Radiation
4.	Irradiation versus Contamination/Internal vs. External Exposure
5.	Radioactive Material Used in Portable Gauging Devices

#### B.	Units of Radiation Dose and Quantities of Radioactivity

1.	Curie, Rad, Rem and Roentgen
2.	Prefixes
3.	SI Units

#### C.	Basic Math and Calculations Related to Radioactivity

1.	Radioactive Decay
2.	Dose Rates
3.	Inverse Square Law
4.	Half-value Layers

D.	Biological Effects of Radiation

1.	Acute, Chronic and Genetic Effects of Exposure

2.	Radiation Protection Standards

3.	The ALARA Philosophy

##### E.	Radiation Levels From Radioactive Sealed Sources

#### F.	Methods of Controlling Radiation Dose

1.	Time

2.	Distance

3.	Shielding

II.	RADIATION DETECTION INSTRUMENTS

- Types of Radiation Survey Meters

- Operation, Calibration and Limitations

- Monitoring Techniques

III.	STATE AND FEDERAL REGULATIONS

A.	Chapter 404, Florida Statutes (F.S.)

B.	Chapter 64E-5, Florida Administrative Code (F.A.C.)

C.	Title 10, Code of Federal Regulations (10 CFR)

D.	Title 49, Code of Federal Regulations (49 CFR)

IV.	LICENSING AND INSPECTION

A.	License Items and Conditions

B.	Notices, Instructions and Reports to Workers

C.	Inspections

V.	OPERATING AND EMERGENCY PROCEDURES

#### A.	Operating Procedures

1.	Training and Supervision

- Personnel Monitoring

- Availability of Procedures

- Security

- ALARA Philosophy

- Transportation

- General Rules of Use

- Posting Requirements

- Routine Maintenance

- Radiation Surveys

#### B.	Emergency Procedures

1.	Preventive Measures

2.	Emergency Response

3.	Notification Requirements

4.	Case Histories

VI.	TRANSFER/DISPOSAL REQUIREMENTS

VII.	PRACTICAL TRAINING

A.	Types of Portable Gauging Devices

1.	Moisture/Density Gauges

2.	Asphalt Content Gauges

3.	Depth Probe Gauges

4.	X-ray Fluorescence Analyzers (XRFs)

B.	Transport/Storage Containers

C.	Remote Handling Equipment

D.	Hands-on Training

VIII.	Q&A SESSION

IX.	WRITTEN EXAM

X.	EXAM REVIEW