Records pertaining to fixed gauge operations will be maintained in accordance with the requirements specified in Chapter 64E-5, Florida Administrative Code, as summarized below.

| DOCUMENT | RETENTION INTERVAL | REFERENCE |
| --- | --- | --- |
| Chapter 64E-5, Florida Administrative Code | Until termination of license | 64E-5.901 |
| Radioactive materials license (with all active amendments and supporting documents) | Until termination of license | 64E-5.901 |
| Provisions of radiation protection program | Until termination of license | 64E-5.335(2) |
| Records demonstrating compliance with public dose limits | Until termination of license | 64E-5.313(5) |
| Annual radiation protection program reviews | 3 years after records are made | 64E-5.335(2) |
| Radiation safety training and test records | Until worker’s termination or 5 years, whichever is greater | 64E-5.1307(3) |
| Hazmat employee training records | 90 days after worker’s termination | 49 CFR 172.704(d) |
| Leak test records | 3 years after records are made | 64E-5.337 |
| Inventory records | 3 years after records are made | 64E-5.1304 |
| Copies of “IAEA Certificate of Competent Authority” for each gauge’s source(s) (Special Form Source Certificate) | 1 year beyond last gauge shipment | 64E-5.1502(2) 49 CFR 173.476(a) |
| Records of Type A package test results for each authorized gauge model | 1 year beyond last gauge shipment | 64E-5.1501(2) 49 CFR 173.415(a) |
| Copy of manufacturer operation/maintenance manual for each authorized gauge model | As long as the gauge model is possessed | 64E-5.212(2) |
| Receipt records | Until disposal is authorized | 64E-5.103 |
| Transfer & disposal records | Until termination of license | 64E-5.340(2) |
| Survey instrument calibration records | 3 years beyond the calibration date | 64E-5.336(1) |
| Records of surveys performed to evaluate radiation levels or radiation hazards | 3 years after records are made | 64E-5.336(1) |
| Prior occupational dose histories | 3 years after records are made | 64E-5.308(7) |
| Personnel monitoring (PM) results | Until termination of license | 64E-5.339(5) |
| Annual PM exposure reports | 3 years after reports are made | 64E-5.903(2) |
| Individual PM reports following termination | 3 years after reports are made | 64E-5.903(3) |
| Records of surveys/measurements used to determine external/internal doses | Until termination of license | 64E-5.336(2) |