Sections 64E-5.103, .215, .328, and .340, Florida Administrative Code (F.A.C.), address transfer and disposal of radioactive material.  Fixed gauges and other licensed radioactive material will be transferred only to companies or individuals specifically licensed to possess them, in accordance with the below procedure.

I.	Verification

Prior to initiating the purchase, sale, transfer or disposal of a fixed gauge or other device containing radioactive material, obtain documentation of the transferor’s or transferee’s authorization to possess the radioactive material.  Retain either a copy of the other entity’s radioactive materials license, or one of the other verification methods listed in subsection 64E-5.215(4), F.A.C., as evidence of an authorized transfer.

II.	Documentation

As a minimum, documentation of the transfer includes the following:

- The material being transferred (gauge manufacturer name, model and serial number, type and activity of radioactive material, and source manufacturer name and model number);

- The date of the transfer;

- The name, address, and license number of the transferor and transferee; and

- The signatures of the individuals shipping and/or receiving the gauge.

Form DH-1059 “Certificate – Disposition of Radioactive Materials” may be used to document the transfer/disposal of radioactive material; the form is available on the Bureau of Radiation Control website at http://www.doh.state.fl.us/environment/radiation.  All transfer and disposal records are retained on file until license termination.