| Use this checklist to verify completeness of Form DH-1054 when applying for or renewing a category 3L(I) radioactive materials license authorizing possession and use of fixed nuclear gauges. If additional assistance is needed, call the BRC Radioactive Materials Program at (850) 245-4545 or access the bureau’s website at http://www.doh.state.fl.us/environment/radiation/. U.S. Dept. of Transportation regulations (49 CFR) are available on the Internet at http://www.access.gpo.gov/nara/cfr/ index.html. |
| --- |
| CHECK OFF IF ADDRESSED | APPLICATION ITEM | NOTES |
| ( | 1.a. | Name/Mailing Address | List business name registered with the FL Dept. of State, Div. of Corporations; verify name registration by phone (850/488-9000) or online at http://www.sunbiz.org/corpweb/inquiry/search.html List business’ Federal Employer Identification (FEI) or Document No. If doing business under a fictitious name, verify the name’s registration & include it in Item 1 as a d/b/a name; if the fictitious name is not registered, include as a/k/a as part of the mailing address List the mailing address for license-related correspondence |
| ( | 1.b. | Location of Use and/or Storage | List the street address of the facility where gauges will be used & stored, & where license-related records will be available for inspection; 64E-5.208(2), .213(5) Indicate if any facilities are non-contiguous |
| ( | 2. | License Category/Fee | Category: 3L(1); a non-refundable application fee required for new applications; no fee for renewal applications; annual/reclamation fees are due within 60 days of license issuance & annually thereafter; license fees listed in 64E-5.204 |
| ( | 3. | Purpose of Application | Check appropriate box; if applying to renew a license, list the license no. |
| ( | 4. | Individual Users | List all authorized users (AUs), including the RSO; 64E-5.208(2) Minimum of two AUs is required to satisfy 64E-5.1313(4) Identify each AU as either a: Basic AU (qualified to perform inventories, shutter checks, leak tests & routine maintenance) Advanced AU (qualified to perform basic activities, plus gauge installations, relocations, surveys & non-routine maintenance/service) |
| ( | 5. | Rad. Safety Officer (RSO) | List the name of the RSO; 64E-5.1305(1) |
| ( | 6. | Training and Experience in Radiation Safety | Submit rad. safety training documentation for the RSO & each AU; do not include workers’ SSNs or birth dates; 64E-5.208(1), .1305(2), .1307, .1313 Basic AUs: documentation of at least 8 hrs. of BRC-approved training covering 64E-5.1307(1) subjects; may need to include additional documentation of training in O&E procedures; 64E-5.1313(1) Advanced AUs: documentation of at least 40 hrs. of BRC-approved training by covering 64E-5.1313(2) subjects; may need to include additional documentation of training in O&E procedures; 64E-5.1313(2) |
| ( | 7. | Radioactive Material (RAM) | List the element, source manufacturer & model no., max. activity & max. possession limit for each specifically licensed (SL) source requested If seeking authorization to possess generally licensed (GL) sources/devices, under 7.a., add: “Radioactive material distributed to a general licensee per 64E-5.206(1), and (4), FAC”; under 7.b., add: “Sealed sources” & under 7.c., add: “No single source to exceed that quantity authorized for the general license” |
| ( | 8. | Use | List the manufacturer, model no. & intended use for each source/device If seeking authorization to possess GL devices, add: “Radioactive material distributed to a general licensee per 64E-5.206(1), and (4), FAC” |

| CHECK OFF IF ADDRESSED | APPLICATION ITEM | NOTES |
| --- | --- | --- |
| ( | * | Current RAM Inventory | For renewal applications, include current inventory of all RAM, including exempt, GL & SL sources/devices & indicate their status (exempt, GL or SL); 64E-5.212(2) |
| ( | 9. | Rad. Detection Instruments | Survey meter required if performing advanced services; 64E-5.212(2) If applicable, list the manufacturer, model no., detection capability, range & probe specifications (if equipped w/ a probe); 64E-5.208(2), .1314 |
| ( | 10. | Calibration of Radiation Detection Instruments | If applicable, list name & address of instrument calibration vendor (may include option of using other licensed vendors) & confirm annual cal. frequency; if performing in-house calibrations, submit procedures; 64E-5.208(2), .314, .1314 |
| ( | 11. | Personnel Monitoring (PM) Devices | If applicable, list PM badge type (whole body FB/OSLD/TLD), supplier & exchange frequency (monthly/bimonthly/quarterly); 64E-5.208(2), .314 PM is required if seeking authorization for advanced activities; if restricted to basic activities only, PM is not required if able to demonstrate workers are unlikely to exceed 500 mrem/yr (documentation required); model: App. G; 64E-5.315, .1310(2) |
| ( | 12. | Facilities & Equipment | Facility diagram shows locations of installed gauges & gauge storage area, adjacent areas, & proximity to occupied work stations; 64E-5.208(2) Description of gauge storage area/container; 64E-5.208(2) Description of security controls for stored & installed gauges; 64E-5.208(2), .320 Description of any environmental conditions w/ potential to adversely affect gauges (excessive temperature, vibration, caustic chemicals, etc.); 64E-5.208(2) Description of any protective equipment or barriers installed to protect gauges from harsh environmental conditions or to shield radiation; 64E-5.208(2), .1315 |
|  | 13. | Rad. Protection Program | Program must address all below items; 64E-5.303 |
| ( | A. | Member of Public (MOP) Dose Compliance Study | New applicant: submit procedure for demonstrating compliance w/ MOP dose limits (2 mrem in any 1 hr. & 100 mrem/year); App. A; 64E-5.208(2), .313 License renewal: submit completed MOP study); App. A; 64E-5.208(2), .313 |
| ( | B. | ALARA Policy | Policy describes a) management's commitment to ALARA philosophy, & b) commitments of management & workers for implementing the policy; App. B; 64E-5.208(2), .303 |
| ( | C. | RSO Duties | Description of RSO duties equivalent to duties listed in 64E-5.1305; App. C |
| ( | D. | Radiation Safety Training Program | Program addresses all training requirements; model program: App. D Instructions to workers; 64E-5.902, .208(2) Hazmat employee training; 49 CFR Part 172, Subpart H Basic AU training; 64E-5.1307, .1313(1) Advanced AU training (if applicable); 64E-5.1307, .1313(2) Third party training must be BRC-approved; contact BRC to verify status of training programs; 64E-5.208(2), .212(2) Approval of in-house training requires submittal of description of instructor qualifications, course outline & duration, method of testing (w/ sample exam) & retesting; .208(2), .1307 |
| ( | E. | Operating Procedures | Procedures address all required components; 64E-5.208(2), .1302, App. E, Ex. B Availability of personnel & procedures General rules of use (including rad. surveys) Security (for installed & stored gauges) Basic & advanced services |

| CHECK OFF IF ADDRESSED | APPLICATION ITEM | NOTES |
| --- | --- | --- |
|  | 13. | Rad. Protection Program | (contd.) |
| ( | (F) | Personnel Monitoring (PM) Procedures | If applicable, instructions on use; spare badges; dealing with lost/damaged badges; PM records & reports; App. F, Ex. E – G; 64E-5.208(2), Part III, .1302(4), .1310(1) |
| ( | (G) | Posting Procedures | Instructions on posting per Parts III, IX & XIII; App. H Radiation warning signs (Caution-Rad. Materials, Caution-Rad. Area); 64E-5.323 Emergency procedures; 64E-5.901(1)(f) Lock-out procedures; 64E-5.1315 “Notice to Employees” form; 64E-5.901(3) Other required documents, including Notices of Violations, Orders & related correspondence; 64E-5.901(1) |
| ( | (H) | Lock-Out Procedure | Instructions for gauge lock-out/tag-out conforming to OSHA requirements; App. I; 64E-5.320, .321, .1302(3); .1311, 29 CFR 1910.147 |
| ( | (I) | Emergency Procedures | Instructions for handling gauge loss, theft or damage; include rad. emergency notification numbers for RSO & BRC; App. J; 64E-5.208(2), .1302 |
| ( | (J) | Ordering, Receiving, Opening & Shipping Pro. | Instructions for preparation & handling of incoming & outgoing RAM shipments; Sample private use shipping paper & ERI provided; App. K, Ex. C, Ex. D; 64E-5.208(2), .327, .1501, .1502, 49 CFR |
|  | (K) | Leak Testing (LT) | Man. name & model no. of LT kit used, & name of vendor contracted to perform LT sample analysis (may include option of using other licensed vendors); App. L; 64E-5.208(2), .1303 Instructions specify LT interval & LT sample collection If LT analysis conducted in-house, detailed procedures submitted |
| ( | (L) | Inventory Procedure | Instructions for performing & documenting inventories; App. M; 64E-5.1304 Sample inventory form provided & equivalent to model form; Ex. A; 64E-5.208(2) |
| ( | (M) | Record Retention Pro. | Procedure addresses records requirements; App. N; .208(2), .1302 |
| ( | (N) | Notification/Reporting Pro. | Procedure addresses notification and reporting requirements; App. O; .208(2) |
| ( | 14. | Waste Disposal Procedure | Procedure addresses RAM disposal; App. P; 64E-5.208(2), .328 |
| ( | 15. | Certificate | Application signed & dated by a certifying official (person authorized to make legally binding statements on behalf of the applicant/licensee); model delegation of authority form: Ex. H |