I.	Laboratory coats or other protective clothing are worn at all times in areas where radioactive materials are used;

II.	Disposable gloves are worn at all times while handling radioactive materials;

III.	Eating, drinking, smoking, or applying cosmetics in any area where radioactive material is stored or used is prohibited;

IV.	Storing food, drinks, or personal effects in areas where radioactive material is stored or used is prohibited;

V.	If applicable, personnel monitoring devices are worn at all times while in areas where radioactive materials are used or stored;

VI.	Dispose of radioactive waste only in designated, labeled and properly shielded receptacles; and

VII.	Radioactive materials are confined in clearly labeled appropriate containers.

VIII.	Ensure security of radioactive materials.  Do not leave radioactive materials unattended in unsecured areas.