Notes:	– This checklist is for applicants using DOH Form DH-1054 to apply for or renew a radioactive materials license authorizing possession and use of unsealed and/or sealed sources for In-vitro and Clinical Laboratories, Academic, Research, Nuclear Service and Other Misc. Uses, except Fixed and Portable Gauging activities.  Refer to section 64E-5.204, Fla. Admin. Code, for a list of license categories.  If additional assistance is needed, call the BRC Radioactive Materials Section at (850) 245-4545 or access the BRC website at <http://www.doh.state.fl.us/environment/radiation/>.

- U.S. Dept. of Transportation regulations (49 CFR) are available at <http://www.gpoaccess.gov/cfr/index.html>.

| CHECK OFF IF ADDRESSED |  |  | APPLICATION ITEM | NOTES |
| --- | --- | --- | --- | --- |
|  | 1.a. | Name/Mailing Address |  | - Unless application is for an individual, list the business name registered with the FL Div. of Corporations; verify name registration by phone (850/488-9000) or online at <http://ccfcorp.dos.state.fl.us/corpweb/inquiry/corinam.html> - If doing business under a fictitious name, verify the name’s registration & include it in Item 1 as a d/b/a name; if fictitious name is not registered, include it in Item 2 - List the mailing address for license-related correspondence |
|  | 1.b. | Location of Use and/or Storage |  | - List the street address where RAM will be used & stored, & where records will be available for inspection; 64E-5.208(2), .213(5) - Indicate if any locations are non-contiguous |
|  | 2. | License Category/Fee |  | - List appropriate license category & application fee; there is no fee for license renewal applications - Annual/reclamation fees are due within 60 days of license issuance and annually thereafter (an invoice for the fees is included w/ the new license); 64E-5.204 |
|  | 3. | Purpose of Application |  | - Check appropriate box; if applying to renew a license, list the license number |
|  | 4. | Individual Users |  | - List the name of the RSO & all authorized users (AUs) – individuals trained to use or supervise the use of radioactive materials; 64E-5.208(2) |
|  | 5. | Rad. Safety Officer (RSO) |  | - List the name of the RSO; 64E-5.208(2) |
|  | 6. | Training and Experience in Radiation Safety |  | - Enclose relevant documentation on the rad. safety training/experience for the RSO & each authorized user; 64E-5.208(1), .1305, .1307 |
|  | 7. | Radioactive Material (RAM) |  | - List the element/source model no. & maximum activity for each source |
|  | 8. | Use |  | - List the manufacturer, model no. & intended use for each source/device |
|  | 9. | Radiation Detection Instruments |  | - If applicable, list the manufacturer, model no., detection capability, range & probe specifications (if equipped w/ probe) of each instrument; 64E-5.208(2) .1314, .1318 - Confirm access to an equivalent backup instrument when the primary meter is out due to calibration or repair; 64E-5.208(2), .1314, .1318 |
|  | 10. | Calibration of Radiation Detection Instruments |  | - If applicable, list the name & address of the instrument calibration vendor (may include option of using other licensed vendors) & confirm annual calibration frequency; if conducting in-house cal., submit procedures; 64E-5.208(2), .314 |
|  | 11. | Personnel Monitoring (PM) Devices |  | - External PM required unless able to demonstrate that workers are unlikely to exceed 500 mrem/yr TEDE; if applicable, list PM badge type (FB/OSLD/TLD), supplier & exchange frequency (monthly/bimonthly/quarterly); 64E-5.208(2), .314, .315(1) - Internal PM required for users of I-125, I-131, H-3, U-234, U-235 or U-238 per 64E-5.1310(3); also required for users of unsealed sources of RAM unless able to demonstrate workers are unlikely to exceed 10% of applicable ALIs; if applicable, describe internal PM method (e.g., bioassays); 64E-5.208(2), .307, .315(2), .1310(3) |

| CHECK OFF IF ADDRESSED |  |  | APPLICATION ITEM |  | ## NOTES |
| --- | --- | --- | --- | --- | --- |
|  | 12. | Facilities & Equipment |  | - Annotated facility diagram shows RAM use/storage locations, access pts., adjacent areas, proximity to occupied work stations, no. of stories to bldg.; 64E-5.208(2) - Description of storage container; 64E-5.208(2) - Description of security measures in place to prevent access; 64E-5.320, .321 - Description of safety equipment; 64E-5.208(2) - Description of posting; 64E-5.323, .901 |  |
|  | 13. | # Rad. Protection Program |  | - Description of program addressing below items; 64E-5.303 |  |
|  | A. | Member of Public (MOP) Dose Study |  | - New applicant: procedures for demonstrating compliance w/ MOP dose limits (2 mrem in any one hr. & 100 mrem/yr.; 64E-5.208(2), .313 - License renewal: submit MOP study; 64E-5.208(2), .313 (guide available from BRC) |  |
|  | B. | ALARA Policy |  | - Policy describes a) management's commitment to ALARA philosophy, & b) commitment to perform an annual ALARA/rad. protection program review; Model ALARA policy: App. B; 64E-5.208(2), .303 |  |
|  | C. | ### Radiation Safety Officer |  |  |  |
|  | (1) | RSO Duties |  | - Description of RSO duties equivalent to the duties listed in 64E-5.1305; App. C |  |
|  | (2) | Change of RSO Notification |  | - Statement confirming that written notification will be given to BRC within 30 days of a change of RSO or other safety positions; App. C; 64E-5.213(7) |  |
|  | D. | Radiation Safety Training Program Model training program: App. D |  |  |  |
|  | (1) | Instructions to Workers Training |  | - Description of instructions to workers/rad. awareness training provided to occupational radiation workers per 64E-5.902 |  |
|  | (2) | AU Training |  | - Description of training provided per 64E-5.1307(1) if any third party trainers used; info on their training programs provided; 64E-5.1307 - If seeking to conduct in-house AU training, describe instructor qualifications, course outline & duration, method of testing (w/ sample exam) & retesting & reference materials; 64E-5.1307, 1312 & .1313 (as applicable) |  |
|  | (3) | Hazmat Employee Training |  | - Description of training (in-house or by third parties) & record-keeping per 49 CFR Part 172, Subpart H |  |
|  | E. | Personnel Monitoring (PM) Procedures |  | - If external PM conducted, procedures provide instructions on proper use: only use assigned badge, always wear when handling RAM, do not expose to excessive heat/light/chemicals/moisture, promptly return for exchange when due; use of spare badges; dealing w/ lost/damaged badges; PM records - Model procedure: App. E |  |
|  | F. | Operating & Emergency (O&E) Procedures model procedure: App. F |  |  |  |
|  | (1) | PM Procedures |  | - Procedures provide instructions on proper use: only use assigned badge; if a spare badge is used, mark with user’s initials, always wear badge when handling radioactive materials; don't expose to moisture, chemicals, strong heat or light, promptly return for exchange when due; notify RSO if badge is lost/damaged; App. F (Sec. III); .208(2), .1302(4) |  |
|  | (2) | General Rules of Use |  | - Procedures provide instructions for routine work App. F (Sec. IV); |  |

| CHECK OFF IF ADDRESSED |  |  |  | APPLICATION ITEM |  | ## NOTES |
| --- | --- | --- | --- | --- | --- | --- |
|  | 13.F. |  | ###### Operating & Emergency (O&E) Procedures |  |  |  |
|  | (3) | Posting |  |  | - Instructions addressing posting requirements per Parts III, IX & XIII; App. F (Sec. VII); .208(2), .323, .901, .1302 |  |
|  | G. | ###### RAM Ordering, Receiving, Opening & Shipping Procedures Model procedure: App. G |  |  |  |  |
|  | (1) | Ordering, Receiving and Opening packages |  |  | - Instructions for preparation & handling of incoming & outgoing shipments; App. G (Sec. I & II); .208(2), .327, .336 |  |
|  | (2) | Transportation |  |  | - Procedures for transport per DOT regs [inspection, packaging, marking, labeling, blocking/bracing, security, shipping papers, emergency response info. (ERI), etc.]; App. G (Sec. III); .321, .1311, .1302(5), .1501, .1502; 49 CFR |  |
|  | H. | Rules of use |  |  | - Provide instructions to personnel addressing the safe use and handling of unsealed sources of radioactive material. App. H |  |
|  | I. | Contamination Control & Survey Procedures |  |  | - Procedures address weekly surveys, survey instrument calibration, removable contamination surveys, personal surveys, action levels and decontamination, notification and records; model procedure: App. I, 64E-5.208(2), .314, .1318, .1319 |  |
|  | J. | In-Vivo Thyroid Bioassay |  |  | - If using unsealed radioiodine, submit bioassay frequency and corresponding action; model procedure: App. J, 64E-5.307, .315, .1310 |  |
|  | K. | In-Vitro Urinalysis Bioassay |  |  | - If using hyrdorgen-3 (H-3) in tritiated compounds, including HTO, submit in-vitro urinalysis bioassay monitoring program ; model procedure: App. K |  |
|  | L. | Emergency Procedures |  |  | - Procedures provide instructions for handling RAM loss, theft or damage; include emer. notification numbers (RSO, BRC); model procedure: App. L; .208(2), .1302 |  |
|  | M. | Leak Test Frequency, Collection and Records |  |  | - Instructions for collecting leak test samples; performed only by AUs; state interval tests will be performed; list manufacturer name & model no. of LT kit used; list vendor contracted to analyze samples (may include option of using other licensed vendors); 64E-5.208(2), .1303, App. M |  |
|  | N. | Leak Test Analysis |  |  | - If leak test analysis conducted in-house, detailed procedures required; App. N |  |
|  | O. | Inventory |  |  | Procedure for performance of semiannual physical inventories, including sample inventory form; model procedure: App. O; .208(2), .1304 |  |
|  | P. | Record Retention Procedure |  |  | Procedure addresses record-keeping requirements specified in 64E-5; model procedure: App. P |  |
|  | Q. | Notification and Reporting |  |  | Notification and reporting requirements are specified in Parts II and III of Chapter 64E-5, F.A.C. model procedure: App. Q |  |
|  | R. | Instrument Calibration |  |  | - Procedure for calibration of radiation detection instruments used in quantitative analysis (e.g., dose rate and effluent releases) Model procedure: App. R |  |
|  | S. | Waste Disposal |  |  | - Procedures address RAM disposal, with commitment that RAM will be transferred only to licensed recipients; model procedure: App. R - For unsealed RAM, address decay-in-storage, sewer disposal & LLRW shipments as applicable; App. R |  |
|  | 14. | Certificate |  |  | - Application signed & dated by a certifying official (person authorized to make legally binding statements on behalf of the applicant/licensee) |  |