[image: image1.jpg]



STATE OF FLORIDA

DEPARTMENT OF HEALTH
APPLICATION FOR A SWIMMING POOL EXEMPTION STATUS 

32 UNITS OR LESS

This form is to be completed and submitted in duplicate, along with supporting documentation as necessary.

1.
Name of Pool      


Location of Pool      
 

2.
Name of Owner      
 Phone Number (   )     



Mailing Address      
 City      
 State   
 Zip      

3.
THIS POOL MEETS THE FOLLOWING CONDITIONS FOR EXEMPTION QUALIFICATION:


A. This pool will serve no more than 32 condominiums or cooperative living units.
 FORMCHECKBOX 
 Yes
 FORMCHECKBOX 
 No



( Attach supporting documentation, identification and description of units)


B. Condominium or living units being served by this pool are not licensed as a 
 FORMCHECKBOX 
 Yes
 FORMCHECKBOX 
 No



public lodging establishment.

C. The water quality of the pool will be maintained as follows:
 FORMCHECKBOX 
 Yes
 FORMCHECKBOX 
 No



(1) The pool water has at least 1.0 mg/L free active chlorine residual




or 1.5 mg/L bromine residual.



(2) Spa pool water shall have not less than 2 mg/L free active chlorine residual,




or 3 mg/L bromine residual.



(3) The pH range of the water shall be maintained between 7.2 and 7.8.



(4) The water clarity shall be such as to be able to clearly see the main drain from the pool deck. 

CERTIFICATION OF OWNER
The undersigned owner, or owner’s representative, certify that this pool qualifies for exemption from supervision under Chapter 514, Florida Statute, and Chapter 64E-9 Florida Administrative Code, except for water quality conditions listed above.  If the exemption conditions change to eliminate the exemption status, this pool will be modified as necessary to comply with the provisions of the Chapter 64E-9 of the Florida Administrative Code. 

It will be the owner’s responsibility to inform any future owners of the conditions for this exemption status.


Signature 
 Date8/4/25 FORMTEXT 

05/19/98
 



Name/Title     




Please print or type
It is recommended that exemption status be  FORMCHECKBOX 
 granted   FORMCHECKBOX 
 denied, subject to the provisions of the Florida Administrative Code


DOH Engineer / Environmental Specialist


     


Print Name
DH 4065, 3/98 (Obsoletes all previous editions)


